## HORUS
HORUS SIZING CALCULATION CLASS RATING 150# up to 900#
1.) Input Data Process
Converted Data |  |  |  | Given Data |  | INPUT DATA PROCESS HERE ...
Inlet Pressure | 0 | barg |  |  | barg
Set Point | 0 | barg |  |  | barg
Flow | 0 | Nm³/h |  |  | Nm³/h
Flow Condition Definition
Sub-critical Flow |  |  | 1
2.) Worker Regulator (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
1'' | 620 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2'' | 2481 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3'' | 5024 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4'' | 9924 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
6'' | 18920 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
8'' | 34735 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
10'' | 54275 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3.) Active & Monitor Configuration (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
1'' | 620 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2'' | 2481 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3'' | 5024 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4'' | 9924 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
6'' | 18920 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
8'' | 34735 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
10'' | 54275 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4.) Minimum Diameter Recommeded for Slam Shut Valve
Permissible gas velocity |  |  | 40 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
5.) Outlet Gas Velocity Calculation for Downstream Pipeline
Permissible gas velocity |  |  | 20 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
Other Downstream Pipe Size Verification
Downstream Pipe Nominal Diameter |  |  | 50.8 | mm
|  |  | 2 | inches
Gas velocity calculated based on downstream pipe nominal diameter selected |  |  | 0 | m/s
Company
Project
Quotation
User
Date
Revision

## URANO
URANO SIZING CALCULATION CLASS RATING 150# up to 900#
1.) Input Data Process
Converted Data |  |  |  | Given Data |  | INPUT DATA PROCESS HERE ...
Inlet Pressure | 0 | barg |  |  | barg
Set Point | 0 | barg |  |  | barg
Flow | 0 | Nm³/h |  |  | Nm³/h
Flow Condition Definition
Sub-critical Flow |  |  | 1
2.) Worker Regulator (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
2'' | 1950 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3'' | 3800 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4'' | 6850 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
6'' | 15080 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
8'' | 28250 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3.) Active & Monitor Configuration (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
2'' | 1950 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3'' | 3800 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4'' | 6850 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
6'' | 15080 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
8'' | 28250 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4.) Minimum Diameter Recommeded for Slam Shut Valve
Permissible gas velocity |  |  | 40 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
5.) Outlet Gas Velocity Calculation for Downstream Pipeline
Permissible gas velocity |  |  | 20 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
Other Downstream Pipe Size Verification
Downstream Pipe Nominal Diameter |  |  | 50.8 | mm
|  |  | 2 | inches
Gas velocity calculated based on downstream pipe nominal diameter selected |  |  | 0 | m/s
Company
Project
Quotation
User
Date
Revision

## PI
PI SIZING CALCULATION CLASS RATING 150# & 300#
1.) Input Data Process
Converted Data |  |  |  | Given Data |  | INPUT DATA PROCESS HERE ...
Inlet Pressure | 0 | barg |  |  | barg
Set Point | 0 | barg |  |  | barg
Flow | 0 | Nm³/h |  |  | Nm³/h
Flow Condition Definition
Sub-critical Flow |  |  | 1
2.) Worker Regulator (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
1'' | 440 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2'' | 1950 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3'' | 3800 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4'' | 6850 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3.) Active & Monitor Configuration (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
1'' | 440 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2'' | 1950 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3'' | 3800 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4'' | 6850 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4.) Minimum Diameter Recommeded for Slam Shut Valve
Permissible gas velocity |  |  | 40 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
5.) Outlet Gas Velocity Calculation for Downstream Pipeline
Permissible gas velocity |  |  | 20 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
Other Downstream Pipe Size Verification
Downstream Pipe Nominal Diameter |  |  | 50.8 | mm
|  |  | 2 | inches
Gas velocity calculated based on downstream pipe nominal diameter selected |  |  | 0 | m/s
Company
Project
Quotation
User
Date
Revision

## ARGOS
ARGOS SIZING CALCULATION CLASS RATING 150# & 300#
1.) Input Data Process
Converted Data |  |  |  | Given Data |  | INPUT DATA PROCESS HERE ...
Inlet Pressure | 0 | barg |  |  | barg
Set Point | 0 | barg |  |  | barg
Flow | 0 | Nm³/h |  |  | Nm³/h
Flow Condition Definition
Sub-critical Flow |  |  | 1
2.) Worker Regulator (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
1'' | 420 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2'' | 1500 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3'' | 2900 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4'' | 6400 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3.) Active & Monitor Configuration (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
1'' | 420 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2'' | 1500 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3'' | 2900 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4'' | 6400 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4.) Minimum Diameter Recommeded for Slam Shut Valve
Permissible gas velocity |  |  | 40 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
5.) Outlet Gas Velocity Calculation for Downstream Pipeline
Permissible gas velocity |  |  | 20 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
Other Downstream Pipe Size Verification
Downstream Pipe Nominal Diameter |  |  | 50.8 | mm
|  |  | 2 | inches
Gas velocity calculated based on downstream pipe nominal diameter selected |  |  | 0 | m/s
Company
Project
Quotation
User
Date
Revision

## BRISE PLUS
BRISE PLUS SIZING CALCULATION MAX. INLET PRESSURE 10 BAR
1.) Input Data Process
Converted Data |  |  |  | Given Data |  | INPUT DATA PROCESS HERE ...
Inlet Pressure | 0 | barg |  |  | barg
Set Point | 0 | barg |  |  | barg
Flow | 0 | Nm³/h |  |  | Nm³/h
Flow Condition Definition
Sub-critical Flow |  |  | 1
2.) Worker Regulator (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
1'' | 496 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2'' | 1600 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3'' | 3000 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3.) Active & Monitor Configuration (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
1'' | 496 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2'' | 1600 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3'' | 3000 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4.) Minimum Diameter Recommeded for Slam Shut Valve
Permissible gas velocity |  |  | 40 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
5.) Outlet Gas Velocity Calculation for Downstream Pipeline
Permissible gas velocity |  |  | 20 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
Other Downstream Pipe Size Verification
Downstream Pipe Nominal Diameter |  |  | 50.8 | mm
|  |  | 2 | inches
Gas velocity calculated based on downstream pipe nominal diameter selected |  |  | 0 | m/s
Company
Project
Quotation
User
Date
Revision

## DOMUS
DOMUS SIZING CALCULATION CLASS RATING 150# up to 2500#
1.) Input Data Process
Converted Data |  |  |  | Given Data |  | INPUT DATA PROCESS HERE ...
Inlet Pressure | 0 | barg |  |  | barg
Set Point | 0 | barg |  |  | barg
Flow | 0 | Nm³/h |  |  | Nm³/h
Flow Condition Definition
Sub-critical Flow |  |  | 1
2.) Worker Regulator (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
1" x 1" | 52 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
1" x 2" | 52 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
1" x 3" | 52 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2" x 2" | 370 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2" x 3" | 370 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3.) Active & Monitor Configuration (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
1" x 1" | 52 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
1" x 2" | 52 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
1" x 3" | 52 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2" x 2" | 370 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2" x 3" | 370 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4.) Minimum Diameter Recommeded for Slam Shut Valve
Permissible gas velocity |  |  | 40 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
5.) Outlet Gas Velocity Calculation for Downstream Pipeline
Permissible gas velocity |  |  | 20 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
Other Downstream Pipe Size Verification
Downstream Pipe Nominal Diameter |  |  | 50.8 | mm
|  |  | 2 | inches
Gas velocity calculated based on downstream pipe nominal diameter selected |  |  | 0 | m/s
Company
Project
Quotation
User
Date
Revision

## DOMUS HF
DOMUS SIZING CALCULATION CLASS RATING 150# up to 2500#
1.) Input Data Process
Converted Data |  |  |  | Given Data |  | INPUT DATA PROCESS HERE ...
Inlet Pressure | 0 | barg |  |  | barg
Set Point | 0 | barg |  |  | barg
Flow | 0 | Nm³/h |  |  | Nm³/h
Flow Condition Definition
Sub-critical Flow |  |  | 1
2.) Worker Regulator (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
1" x 1" | 265 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
1" x 2" | 265 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
1" x 3" | 265 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2" x 2" | 600 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2" x 3" | 600 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
3.) Active & Monitor Configuration (only) Size Selection
KG Required | #DIV/0!
Using the Table 1 select the convinient Regulator Size
Table 1 |  | Percentage of use |  | Condition of Use |  |  | Outlet gas velocity in regulator flange
ND | KG
1" x 1" | 265 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
1" x 2" | 265 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
1" x 3" | 265 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2" x 2" | 600 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
2" x 3" | 600 | #DIV/0! |  | #DIV/0! |  |  | 0 | m/s
4.) Minimum Diameter Recommeded for Slam Shut Valve
Permissible gas velocity |  |  | 40 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
5.) Outlet Gas Velocity Calculation for Downstream Pipeline
Permissible gas velocity |  |  | 20 | m/s
Downstream Pipe Nominal Diameter |  |  | 0 | mm
|  |  | 0 | inches
Other Downstream Pipe Size Verification
Downstream Pipe Nominal Diameter |  |  | 50.8 | mm
|  |  | 2 | inches
Gas velocity calculated based on downstream pipe nominal diameter selected |  |  | 0 | m/s
Company
Project
Quotation
User
Date
Revision